## Secure Tropos
Contents of Security Requirements | Category | Stages of ATT&CK Matrix
|  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
CSR1: Ensure that only authorized personnel can perform tasks; | Operation security | √
CSR2: Ensure operations in accordance with standardized procedures; | Operation security | [5 empty] | √
CSR3: Record operations for auditing and traceability | Operation security |  |  |  | √ |  |  | √ |  |  | √
CSR4: Provide operational training on equipment operation, safety procedures and emergency response; | Operation security
CSR5: Establish response plans in case of fire, leakage, explosion and other emergencies; | Operation security
CSR6: Regularly analyze operation records, including user login, configuration changes, network access, et al | Operation security |  |  | √ | √ | √ |  |  |  |  | √
CSR7: Use integrity verification of drivers to ensure that it has not been tampered with or replaced during operation | Operation security | √ |  | √ | √ | [5 empty] | √
CSR8: Ensure that input received by the graphical user interface is verified to prevent injection attacks | Operation security |  | √ | √ | √ |  |  |  |  | √ | √
CSR9: All communications involving sensitive data should use encryption protocols | Communication security |  |  |  |  | √ |  | √ | √
CSR10: Both parties should perform identity verification to ensure that only authorized devices or users can communicate and access | Communication security | √ |  |  |  | √ | √ |  | √
CSR11: Avoid using protocols and encryption algorithms with known security vulnerabilities | Communication security |  |  |  |  | √ |  |  | √
CSR12: Use timestamps to prevent the same communication session from being reused | Communication security |  |  |  | √
CSR13: Use digital certificates and public key infrastructure to prevent man-in-the-middle attacks; | Communication security |  | √ |  | √ |  |  | √ |  | √
CSR14: Divide the system network into various areas and conduct further separation based on security level | Communication security |  | √ |  |  |  | √
CSR15: Use traffic filtering, load balancing and IP address locking to prevent DoS attacks; | Communication security |  | √ | [6 empty] | √
CSR16: Use data loss prevention to detect and prevent unauthorized transmission of sensitive data | Communication security |  |  | √ |  |  | √ | √ |  | √
CSR17: Set strict firewall rules to control traffic in and out of the network | Communication security | √ |  |  |  |  | √ | √ | √ | √
CSR18: Ensure updated configuration do not introduce new security risks via audit and assessment | Update security | √
CSR19: Regularly check for updates and security patches to ensure that the firmware remains up-to-date to protect against known security vulnerabilities | Update security | √ |  | √
CSR20: Ensure execution, testing and update are fully documented | Update security | [8 empty] | √
CSR21: Key updates and changes should be supervised by authorized personnel; | Update security | [8 empty] | √
CSR22: All updates should be tested in an isolated environment before official deployment; | Update security
CSR23: Update activities should be planned in advance and conducted during off-peak hours to reduce the impact on operations | Update security
CSR24: Establish an emergency plan to restore operation and prevent long-term downtime in update | Update security | [8 empty] | √
CSR25: Firmware and software can not be downgraded to older versions without permission. | Update security | √ |  | √ | [5 empty] | √
CSR26: Ensure each asset in ICSs has a unique identifier, and access rights are graded based on importance; | Asset management |  |  |  |  | √
CSR27: Conduct asset inventory and tracking to detect any lost, stolen or unauthorized moved assets; | Asset management |  |  |  |  | √ |  | √
CSR28: Monitor the status and performance of equipment and detect any abnormalities in a timely manner; | Asset management |  |  |  |  | √ |  | √
CSR29: Maintain and inspect equipment to ensure its normal operation and safety; | Asset management
CSR30: Develop the scrapping and disposal procedures to prevent the leakage of sensitive data in abandoned equipment; | Asset management
CSR31: The hardware interfaces and software settings must be protected or blocked to prevent data leakage; | Asset management | √ | [6 empty] | √
CSR32: All devices should be equipped with privacy screens to limit the viewing angle of screen. | Asset management
CSR33: All users should undergo valid authentication to ensure that they are legitimate and authorized users; | Access control | √ |  |  |  |  | √
CSR34: Develop and Use access control policies based on different users, roles or environmental requirements; | Access control | √ |  |  |  | √ | √
CSR35: Review user accounts and permission settings to ensure that the allocation of permissions meets security requirements; | Access control | √ |  | √
CSR36: Automatically log out or exit the session window when the user is inactive; | Access control | √
CSR37: When continuous login fails, the login system should be locked and authentication measures are initiated; | Access control | √ |  |  |  |  | √
CSR38: Adopt the multi-factor authentication mechanism to enhance the access security; | Access control | √ |  |  |  |  | √
CSR39: Design access policies for application programming interfaces (APIs) to prevent malicious access and calls; | Access control | √ | √ |  |  |  | √ | √
CSR40: Limit physical access to I/O devices, such as external storage devices; | Access control | √ | [5 empty] | √ | √ | √ | √
CSR41: Limit screenshot functions during the remote access. | Access control | √ | [5 empty] | √
CSR42: Passwords of user accounts should be strong enough; | Cryptography | √ | √ |  |  |  | √
CSR43: Ensure that the password is irreversible in the storage | Cryptography | √ |  | √ |  |  |  | √
CSR44: Use key management measures to restrict key access rights, such ad random keys generation; | Cryptography | √ | √ | √ |  | √
CSR45: Encrypt sensitive data to prevent unauthorized access and disclosure; | Cryptography | √ |  | √ |  | √ |  | √
CSR46: Use the security standard WPA2 or WPA3 to encrypt data transmission in wireless networks; | Cryptography | √ |  |  |  | √ |  | √
CSR47: Use a intrusion prevention system to monitor unauthorized access; | Cryptography | √ |  |  |  | √ | √ | √
CSR48: Use secure configuration for all APIs, and use an API gateway to manage the traffic; | Cryptography | √ | √ |  | √ | √
CSR49: Use full disk encryption on all mobile and temporary devices to prevent data leakage. | Cryptography | √ |  |  |  | √
CSR50: Use measures to protect power supply facilities from unauthorized physical access, such as installing fencing, surveillance cameras and alarm systems; | Power security | [9 empty] | √
CSR51: Separate the control network of power supply systems from IT networks; | Power security |  | √ |  |  |  | √
CSR52: Regularly maintain and inspect all components of power supply systems; | Power security
CSR53: The redundant designs, such as backup power supplies, should be considered to ensure the continuity of power supply. | Power security | [8 empty] | √
CSR54: A boot integrity check should be performed to ensure that the running firmware has not been modified; | Firmware security | √ |  | √ | √ |  |  |  |  | √ | √
CSR55: Ensure that firmware updates come from trusted vendors and are transmitted through secure channels; | Firmware security | √ |  | √ | [5 empty] | √ | √
CSR56: Prevent firmware from being reverse engineered, such as using code obfuscation techniques; | Firmware security | √ |  | √ | √ | [5 empty] | √
CSR57: Isolate the running environment of firmware from other systems to reduce potential attack surfaces; | Firmware security | √ | √ | √ |  |  | √ |  |  |  | √
CSR58: Provide secure options of firmware configuration, allowing users to turn off unnecessary functions; | Firmware security |  | √ | √ | √ | [5 empty] | √
CSR59: Provide a backup for firmware in case it requires to be restored to a safe state; | Firmware security |  |  | √ | [5 empty] | √ | √
CSR60: Ensure adequate isolation between firmware and conduct regular vulnerability scans on all firmware. | Firmware security | √ |  | √ | [6 empty] | √
CSR61: Establish a secure design architecture, such as principle of least privilege and network isolation; | System development | √ | √
CSR62: Follow safe development practices, such as the code review and security vulnerability prevention; | System development | √ |  |  | √
CSR63: Security assessment are required when using third -party components in critical systems; | System development | √
CSR64: Establish a vulnerability management to evaluate and deal with security vulnerabilities; | System development | √ |  |  | √
CSR65: Use file detoxification to remove elements in files that may contain malicious code, such as macros, embedded scripts, or external links; | System development |  | √ | √
CSR66: Secure programming practices is necessary when developing drivers; | System development |  | √
CSR67: Adopt environment variables to store sensitive credentials, avoid credentials appearing in source code; | System development |  | √ |  |  | √ |  | √ |  | √
CSR68: Ensure that graphical user interfaces (GUI) does not disclose sensitive information, such as system details should not be included in error messages. | System development |  | √ |  |  | √ |  | √
CSR69: Ensure that the system can respond quickly and effectively in the fault or attack events; | Business continuity management | [8 empty] | √
CSR70: Establish the backup and recovery strategy to ensure data integrity and availability; | Business continuity management | [8 empty] | √
CSR71: Use redundancy and fault-tolerance mechanisms on critical systems to ensure seamless switching to continue operation when the primary equipment fails or is interrupted. | Business continuity management | [8 empty] | √
CSR72: Use the email gateway to prevent phishing attacks; | Security protection management | √
CSR73: Use outbound traffic monitoring and website blacklist systems to ensure security of websites visited; | Security protection management |  | √ | [5 empty] | √ |  | √
CSR74: Strengthen endpoint security controls and deploy anti-root suite tools; | Security protection management |  | √ | √ | √ | [5 empty] | √
CSR75: Monitor abnormal changes in key system files and registry, and review system startup items; | Security protection management |  |  | √ | √ | [5 empty] | √
CSR76: Use the deep packet inspection on encrypted traffic to identify malicious activity; | Security protection management |  | √ | √ |  | √ |  |  |  |  | √
CSR77: Use a data loss prevention policy to control access and transmission of sensitive data; | Security protection management |  | √ | √ |  | √ |  |  |  |  | √
CSR78: Deploy an abnormal connection detection system to identify irregular or unauthorized remote connections; | Security protection management | √ |  |  |  | √ |  | √ |  |  | √
CSR79: Use measures to reduce the risk of side-channel attacks, such as randomizing processing times and operations to confuse side-channel signals; | Security protection management |  | √ | [6 empty] | √
CSR80: Ensure all devices and equipment have necessary anti-virus software installed; | Security protection management |  | √ |  |  | √ |  | √
CSR81: Conduct security testing and analysis of drivers regularly. | Security protection management |  | √ |  | √
CSR82: Ensure that all employees undergo background checks; | Human resource security | [6 empty] | √
CSR83: Provide safety training to employees; | Human resource security
CSR84: Educate employees on security awareness and social engineering attacks; | Human resource security | √ |  |  |  | √
CSR85: Ensure that the execution of sensitive tasks requires the participation of various employees; | Human resource security | [6 empty] | √
CSR86: Regularly review employee behaviors and system access records; | Human resource security |  |  | √ | √ | √
CSR87: Establish anonymous reporting mechanisms to report security breaches, violations or suspicious activities. | Human resource security
CSR88: Comply with environmental laws, safety regulations, data protection laws, etc; | Compliance
CSR89: Follow the standards and specifications to ensure that product quality and production processes comply with industry standards; | Compliance
CSR90: Ensure supply chain compliance, including evaluation and supervision of suppliers, and ensuring that suppliers comply with relevant laws, regulations and standards; | Compliance
SSR1: Ensure sources of all control commands in HMI can be traced; | Operation security |  | √ |  | √ |  |  |  |  | √ | √
SSR2: Restrict physical access to PLCs; | Operation security | √ | [5 empty] | √
SSR3: Design manual buttons to shutdown operations when emergency conditions occur; | Operation security | [8 empty] | √
SSR4: Use encryption algorithms and digital signature to prevent data tampering or corruption; | Operation security |  |  | √ | √ |  |  |  |  | √ | √
SSR5: Monitor operating status of field devices and alerts for unusual activities that may indicate a security incident. | Operation security | [8 empty] | √ | √
SSR6: Ensure that critical communications between field devices and HMI use secure protocols such as OPC Unified Architecture (UA); | Communication security |  |  |  |  | √ |  |  | √
SSR7: Use the firewalls and demilitarized zones to isolate on-site devices networks from organizational network; | Communication security |  |  |  |  | √ | √
SSR8: Ensure that only authorized devices and personnel can communicate with on-site devices; | Communication security | √ |  |  | √ | √
SSR9: Encrypt data transmitted between field devices and other components; | Communication security |  |  | √ |  |  | √ | √ |  | √ | √
SSR10: Ensure continued operation in the event of network or equipment failure; | Communication security
SSR11: Use the cyclic redundancy check and parity checks to verify integrity in processing large amounts of data; | Communication security
SSR12: Monitor and log all network communications involving field devices. | Communication security |  | √ |  |  |  | √ |  | √
SSR13: Update firmware and software for PLCs, and apply security patches to fix known security vulnerabilities; | Update security |  |  | √ | [6 empty] | √
SSR14: Ensure software updates come from trusted sources and use cryptographic signatures; | Update security |  |  | √ | [5 empty] | √
SSR15: Configuration changes to field devices should be reviewed and authorized; | Update security | [8 empty] | √
SSR16: Backup the key system configuration, programs and data before update, and the backup should be securely stored and retrievable; | Update security
SSR17: Perform tests of updated firmware in an isolated mirrored system to identify potential issues before the deployment; | Update security
SSR18: Limit the update access to users without permission, and log operations; | Update security | [6 empty] | √ |  | √
SSR19: Monitor and log activities in updates,and record any changes made to the system; | Update security | [6 empty] | √ |  | √
SSR20: Perform assessments to ensure that known security vulnerabilities are not introduced through updates; | Update security |  |  |  | √ | [5 empty] | √
SSR21: Ensure operators can switch to older versions if on-line update causes issues. | Update security
SSR22: Assign access to field devices based on the minimum access level required by the user role; | Access control | √ |  |  |  | √
SSR23: Use multi-factor authentication measures to access critical systems, especially interfaces that allow changes to configurations; | Access control | √ |  |  | √ | √ |  |  |  |  | √
SSR24: Ensure credentials are encrypted during storage and transmission; | Access control |  |  | √ |  | √ |  | √ |  | √
SSR25: All access events to critical systems should be logged, including access time, and type of access granted; | Access control |  | √
SSR26: Remove access rights for users who are no longer needed due to role changes or terminations; | Access control | √ | [5 empty] | √
SSR27: Establish procedures to quickly revoke access when necessary, such as when an employee is terminated or a security breach is detected; | Access control | √ |  |  |  | √
SSR28: Use various security measures of different layers involved in key monitoring and control functions. | Access control |  | √ |  | √ | [5 empty] | √
SSR29: Use cryptographic hash verification to perform integrity checks on the firmware; | Firmware security |  |  | √ | √ |  |  |  |  | √ | √
SSR30: Verify integrity of firmware at each boot to prevent unauthorized procedures from being loaded; | Firmware security |  |  | √ |  | √ |  |  |  | √
SSR31: Authenticate all firmware update sessions to ensure that only firmware signed with a trusted certificate can be installed; | Firmware security |  |  | √ | [5 empty] | √
SSR32: Store all firmware in an encrypted format to prevent unauthorized reading or modification; | Firmware security |  |  | √ | [5 empty] | √ | √
SSR33: Ensure that devices run the latest version; | Firmware security
SSR34: Conduct penetration tests and vulnerability scans to identify security vulnerabilities of field devices; | Firmware security | √ |  |  |  | √
SSR35: Establish a notification and response plan, including procedures for rapid assessment, containment and remediation for security incidents. | Firmware security
SSR36: Back up PLC programs and configurations, and ensure quick recovery after cyber attacks or failures; | Security protection management |  |  | √ | [5 empty] | √ | √
SSR37: Detect and respond to anomalous behavior of field equipment; | Security protection management | √ | √ |  |  |  | √ |  |  | √
SSR38: Deploy intrusion detection systems to monitor and analyze network traffic for attack activities; | Security protection management | √ |  |  |  | √ |  |  |  | √
SSR39: Design systems with redundancy and resilience to ensure that safety instrumented system (SIS) remain effective in the event of failures or attacks; | Security protection management | [8 empty] | √
SSR40: Use backup basic process control systems (BPCS) to maintain safety during security incidents; | Security protection management | [8 empty] | √
SSR41: Use configuration management policies to prevent unauthorized changes on all field devices. | Security protection management | √ | √ | [6 empty] | √
SSR42: Conduct a comprehensive assessments of vendors, including review of security policies, practices and compliance with industry standards; | Supplier security | √
SSR43: Require suppliers to adhere to secure supply chain practices, including the secure handling, transportation and storage of components; | Supplier security | √
SSR44: Require suppliers to obtain and maintain third-party security certification; | Supplier security | √
SSR45: Require suppliers to report any security incidents that may affect the supply chain; | Supplier security | √
SSR46: Establish clear data agreements with suppliers that specify how sensitive information will be handled, processed and protected; | Supplier security | √ | [6 empty] | √
SSR47: Develop clear escalation procedures to address security issues of suppliers. | Supplier security | √ | [7 empty] | √

## KAOS
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Regularly monitor ICS activity to detect anomalous behavior. | Operating Security |  |  |  |  | √
SR2 | Enable logging on all ICS devices to track and store data about critical actions performed on the systems. | Operating Security |  |  |  |  | √ |  |  | √
SR3 | Conduct periodic vulnerability assessments of ICS devices | Operating Security |  | √ |  | √ | √ | √
SR4 | Enforce least privilege access controls across all ICS systems | Operating Security | √ |  | √ |  |  | √ | √
SR5 | Enforce a strong patch management policy to keep systems up-to-date. | Operating Security |  | √
SR6 | Implement file integrity monitoring to detect unauthorized changes. | Operating Security
SR7 | Establish system configuration baselines and compare against current system settings. | Operating Security |  |  |  |  | √
SR8 | Ensure physical security for ICS hardware to prevent damages. | Operating Security | √ |  | √
SR9 | Implement regular system performance monitoring to detect resource exhaustion or denial of service attacks. | Operating Security | [8 empty] | √ | √
SR10 | Perform regular ICS network traffic analysis for signs of malicious activity. | Operating Security |  |  |  |  | √ |  |  | √
SR11 | Encrypt sensitive communications between ICS devices and control centers. | Communication Security |  |  |  | √ |  |  |  | √
SR12 | Use secure protocols for remote access to ICS networks. | Communication Security | √ | [6 empty] | √
SR13 | Implement firewall rules to segment ICS networks from less secure networks. | Communication Security | √ |  |  |  |  | √
SR14 | Ensure proper configuration and security for all ICS communication equipment (e.g., routers, switches). | Communication Security | √
SR15 | Use security extensions to protect against DNS spoofing and hijacking. | Communication Security | [7 empty] | √
SR16 | Monitor and block suspicious inbound/outbound traffic to ICS networks. | Communication Security |  |  |  |  | √ |  |  | √
SR17 | Implement an encrypted logging mechanism to protect the integrity of ICS logs. | Communication Security |  |  |  | √ | √
SR18 | Use application-layer filtering and proxy services to monitor ICS network traffic for malicious activity. | Communication Security |  |  |  |  | √ | √
SR19 | Ensure software and firmware updates are cryptographically signed. | Update Security |  | √ |  | √
SR20 | Implement a secure update process to verify integrity of updates before applying them. | Update Security |  | √ |  | √
SR21 | Store updates in a secure, encrypted repository to prevent tampering. | Update Security |  |  | √ | √
SR22 | Limit update access to authorized personnel only. | Update Security | √ |  | √
SR23 | Perform updates in a controlled, staged manner to minimize disruption. | Update Security |  | √ | [7 empty] | √
SR24 | Implement rollback mechanisms to revert updates if they cause issues. | Update Security | [8 empty] | √ | √
SR25 | Regularly audit update logs to ensure compliance with security policies. | Update Security |  |  |  |  | √
SR26 | Maintain an up-to-date inventory of all ICS hardware and software assets. | Asset Management |  |  |  |  | √ | √
SR27 | Implement asset tagging and tracking for ICS devices to prevent unauthorized removal. | Asset Management | √ |  | √
SR28 | Ensure that unused or obsolete ICS equipment is properly decommissioned. | Asset Management | √ |  |  | √
SR29 | Store spare ICS equipment in a secure location to prevent theft or tampering. | Asset Management | √ |  | √
SR30 | Conduct regular audits of asset usage and access to identify discrepancies. | Asset Management |  |  |  |  | √ | √
SR31 | Establish a process for removing access from decommissioned or retired ICS systems. | Asset Management | √ |  | √
SR32 | Enforce multi-factor authentication for all access to ICS systems. | Access Control | √ |  | √
SR33 | Implement role-based access controls (RBAC) for all ICS resources. | Access Control | √ |  |  |  |  | √
SR34 | Regularly review and update access control policies for ICS systems. | Access Control |  |  |  |  | √ | √
SR35 | Use time-based access restrictions to limit access to ICS | Access Control | √ |  | √
SR36 | Implement strong password policies for all ICS system accounts. | Access Control | √ |  |  |  |  | √
SR37 | Enforce automatic account lockout after a certain number of failed login attempts. | Access Control | √ |  | √
SR38 | Ensure proper user provisioning and de-provisioning procedures for ICS access. | Access Control | √ |  | √
SR39 | Use network access control (NAC) to restrict access to ICS devices. | Access Control |  |  |  |  | √ | √
SR40 | Monitor for unauthorized physical access to ICS control panels and devices. | Access Control | √ |  | √
SR41 | Implement strong encryption for all sensitive data at rest. | Cryptography |  |  |  |  | √ |  |  | √
SR42 | Use end-to-end encryption for communication between ICS components. | Cryptography |  |  |  | √ |  |  |  | √
SR43 | Ensure that private keys used for encryption are securely managed and stored. | Cryptography |  | √ |  |  | √
SR44 | Deploy strong encryption algorithms for backup data storage. | Cryptography |  |  |  |  | √ | √
SR45 | Implement public key infrastructure for managing digital certificates and keys in ICS. | Cryptography | √ | [6 empty] | √
SR46 | Regularly rotate cryptographic keys to reduce exposure from key compromise. | Cryptography |  |  | √ | √
SR47 | Ensure that encryption algorithms are compliant with industry standards and regulations (e.g., NIST, FIPS). | Cryptography |  | √ |  | √
SR48 | Enforce encryption for sensitive user authentication data (e.g., passwords, tokens). | Cryptography | √ |  | √
SR49 | Deploy digital signatures to verify the authenticity and integrity of critical software and updates. | Cryptography |  | √ |  | √
SR50 | Monitor and control power supply to prevent disruption. | Power Security | [8 empty] | √ | √
SR51 | Ensure power redundancy for critical ICS components to maintain operational continuity. | Power Security |  |  |  |  | √ |  |  |  |  | √
SR52 | Secure physical access to power distribution units and energy control systems. | Power Security | √ |  | √
SR53 | Regularly audit power system configurations to detect unauthorized changes. | Power Security |  |  | √ |  | √
SR54 | Implement fail-safe mechanisms to detect and respond to power failures. | Power Security | [8 empty] | √ | √
SR55 | Protect power system communication channels with encryption to prevent unauthorized interception. | Power Security |  |  |  | √ |  |  |  | √
SR56 | Ensure firmware is digitally signed before being deployed to ICS devices. | Firmware Security |  | √ |  | √
SR57 | Implement secure firmware rollback procedures to revert to previous stable versions. | Firmware Security | [8 empty] | √ | √
SR58 | Protect firmware from unauthorized access and modification with secure boot mechanisms. | Firmware Security |  | √ | √
SR59 | Regularly verify firmware integrity using cryptographic hashes or checksums. | Firmware Security |  |  | √ | √
SR60 | Store firmware images in a secure location with restricted access. | Firmware Security |  |  | √ |  | √
SR61 | Audit firmware update logs to ensure proper procedure adherence. | Firmware Security |  |  |  |  | √ | √
SR62 | Encrypt firmware images during transmission to prevent interception and tampering. | Firmware Security |  | √ |  | √
SR63 | Use secure coding practices to prevent vulnerabilities in ICS software. | System Development |  | √ |  |  | √
SR64 | Conduct security code reviews during the software development lifecycle. | System Development |  | √ |  |  | √
SR65 | Implement vulnerability scanning tools in the development environment to detect code weaknesses. | System Development |  | √ |  |  | √
SR66 | Ensure third-party components used in ICS software are properly vetted and secured. | System Development |  | √ |  | √
SR67 | Implement a secure software deployment process to prevent unauthorized code execution. | System Development |  | √ | √
SR68 | Use sandboxing to isolate potentially risky ICS software during testing. | System Development |  |  |  | √ | √
SR69 | Enforce strict access controls to development environments to prevent unauthorized code changes. | System Development | √ |  | √
SR70 | Perform regular penetration testing to identify vulnerabilities in ICS applications and systems. | System Development |  | √ |  |  | √
SR71 | Develop a business continuity plan that includes ICS recovery procedures. | Business Continuity Management | [8 empty] | √ | √
SR72 | Implement redundancy for critical ICS components to ensure continuous operations. | Business Continuity Management | [8 empty] | √ | √
SR73 | Establish remote incident response capabilities to handle ICS crises. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR74 | Conduct regular ICS disaster recovery drills to test response effectiveness. | Business Continuity Management | [8 empty] | √ | √
SR75 | Monitor and analyze risk exposure regularly to adjust the continuity plan as needed. | Business Continuity Management |  |  |  |  | √ | √
SR76 | Implement real-time monitoring of key ICS operations to detect failures early. | Business Continuity Management | [8 empty] | √ | √
SR77 | Ensure that backup data is stored securely and is readily accessible for disaster recovery. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR78 | Deploy advanced threat detection systems (e.g., IDS/IPS) to detect intrusions in ICS networks. | Security Protection Management |  |  |  |  | √ | √ |  | √
SR79 | Implement endpoint protection for all ICS devices to block malicious activities. | Security Protection Management |  | √ |  |  | √
SR80 | Enforce strong network segmentation to limit the movement of attackers within ICS networks. | Security Protection Management | √ |  |  |  |  | √
SR81 | Implement secure, dedicated access for third-party vendors to minimize potential threats. | Security Protection Management | √ |  |  |  | √
SR82 | Apply anti-exploitation technologies, such as data execution prevention and address space layout randomization on ICS devices. | Security Protection Management |  | √ | √
SR83 | Conduct regular security audits and penetration tests to identify weaknesses in security protection measures. | Security Protection Management |  | √ |  |  | √
SR84 | Implement honeypots and decoy systems to detect and distract attackers. | Security Protection Management |  |  |  |  | √ |  |  | √
SR85 | Monitor and analyze security events to detect patterns indicative of an attack. | Security Protection Management |  |  |  |  | √ |  |  | √
SR86 | Maintain a comprehensive inventory of security protection tools and configurations. | Security Protection Management |  |  | √ |  | √
SR87 | Conduct regular security training for all employees with ICS access to raise awareness about cyber threats. | Human Resource Security | √ |  |  |  | √
SR88 | Perform background checks on employees with access to critical ICS systems to assess potential risks. | Human Resource Security | √ |  | √
SR89 | Ensure that privileged access is granted only to employees who require it for their role. | Human Resource Security | √ |  |  |  |  | √
SR90 | Implement an employee offboarding procedure to ensure prompt revocation of access after termination. | Human Resource Security |  |  | √ |  |  | √
SR91 | Implement behavioral analytics to detect anomalous behavior from employees with privileged access. | Human Resource Security |  |  |  |  | √ |  |  | √
SR92 | Enforce a security clearances policy that restricts access based on the sensitivity of the information handled. | Human Resource Security | √ |  |  |  |  | √
SR93 | Perform regular access reviews to ensure that employee access levels remain appropriate. | Human Resource Security |  |  |  |  | √ | √
SR94 | Ensure compliance with relevant cybersecurity standards (e.g., NIST, ISO 27001) for ICS systems. | Compliance |  | √ |  |  | √
SR95 | Establish policies and procedures for regular compliance assessments and audits of ICS systems. | Compliance |  |  |  |  | √ | √
SR96 | Monitor and document all security-related activities to demonstrate compliance during audits. | Compliance |  |  |  |  | √ | √
SR97 | Ensure that all third-party vendors comply with ICS security policies and standards. | Compliance | √ |  |  |  |  | √
SR98 | Adopt a risk management framework to continuously assess and mitigate risks in ICS operations. | Compliance |  |  |  |  | √ |  |  | √
SR99 | Ensure compliance with data protection regulations (e.g., GDPR) for all ICS data. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR100 | Develop a robust incident response plan that includes ICS-specific procedures. | Business Continuity Management | [8 empty] | √ | √
SR101 | Ensure real-time monitoring and alerts for ICS security incidents. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR102 | Conduct regular ICS disaster recovery drills to validate incident response and recovery processes. | Business Continuity Management | [8 empty] | √ | √
SR103 | Implement an ICS-specific backup strategy that includes critical system configurations and data. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR104 | Maintain a communication plan to notify relevant stakeholders during ICS security incidents. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR105 | Ensure that backup systems are isolated from the main ICS network to protect against ransomware attacks. | Business Continuity Management | [8 empty] | √ | √
SR106 | Test and review incident response procedures periodically to ensure effectiveness. | Business Continuity Management |  |  |  |  | √ |  |  |  |  | √
SR107 | Deploy continuous monitoring tools to detect unauthorized changes in ICS configurations. | Monitoring and Auditing |  | √ |  |  | √
SR108 | Use centralized logging systems to collect and analyze ICS event logs for anomaly detection. |  |  |  |  | √ | √ | √
SR109 | Ensure that logging and auditing mechanisms are tamper-proof and cannot be disabled by attackers. | [5 empty] | √ |  |  |  | √
SR110 | Implement real-time alerting based on predefined security thresholds to respond to potential attacks. | [5 empty] | √ |  |  | √
SR111 | Regularly review and audit ICS logs to ensure compliance with security policies. |  |  |  | √ |  | √
SR112 | Implement automated anomaly detection tools to flag abnormal behaviors within the ICS network. | [5 empty] | √ | √ |  | √
SR113 | Establish an incident response team with ICS-specific expertise to handle security incidents. | [9 empty] | √ | √
SR114 | Develop a structured incident response workflow for ICS that includes escalation procedures. | [9 empty] | √ | √
SR115 | Ensure that incident detection systems are integrated with ICS operational monitoring systems for faster response. | [5 empty] | √ |  |  | √ |  | √
SR116 | Establish a process for conducting post-incident analysis to improve security measures and incident response. | [5 empty] | √ |  |  |  | √
SR117 | Ensure that incident response procedures are tested periodically to ensure readiness during a real incident. | [9 empty] | √ | √
SR118 | Ensure rapid containment, eradication, and recovery processes for ICS incidents to minimize operational disruption. |  |  | √ | [6 empty] | √ | √

## CORAS
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Implement centralized monitoring systems for ICS networks to detect anomalies. | Operating Security |  |  |  |  | √ | √ |  | √
SR2 | Ensure proper logging of ICS access and operations for auditing purposes. | Operating Security | √ | √ |  |  | √
SR3 | Enforce security patch management to ensure timely installation of critical patches. | Operating Security |  | √ | √ | [5 empty] | √
SR4 | Secure communication channels between ICS components using VPNs or secure tunneling protocols. | Operating Security |  |  |  |  | √ |  |  | √
SR5 | Perform regular vulnerability assessments to identify security gaps in ICS systems. | Operating Security | √ |  |  |  | √
SR6 | Implement system redundancy and failover capabilities to ensure system availability. | Operating Security |  |  |  |  | √ |  |  |  | √ | √
SR7 | Ensure physical security controls for ICS devices to prevent tampering or theft. | Operating Security | √ |  |  |  | √ |  |  |  |  | √
SR8 | Set up security monitoring tools to detect abnormal behavior in ICS user activities. | Operating Security |  |  |  |  | √ | √
SR9 | Apply least privilege principles for ICS system users to minimize the impact of a breach. | Operating Security |  |  |  |  | √ | √
SR10 | Establish role-based access control to enforce proper user access management. | Operating Security | √ |  |  |  |  | √
SR11 | Implement intrusion detection systems tailored to network traffic. | Operating Security |  | √ | √ |  | √ |  |  | √
SR12 | Use network segmentation to isolate critical ICS components from general IT systems. | Operating Security |  |  |  |  | √ | √
SR13 | Enforce secure authentication mechanisms for accessing ICS. | Operating Security | √ |  | √ |  | √
SR14 | Implement security information and event management for centralized log collection and analysis. | Operating Security |  |  |  |  | √ | √ |  | √
SR15 | Set up automated alerts for system health and security incident detection. | Operating Security |  |  |  |  | √ |  |  | √
SR16 | Encrypt sensitive data transmitted across ICS networks using secure protocols | Communication Security |  |  |  |  | √ |  |  | √
SR17 | Use secure communication protocols for remote access to ICS | Communication Security | √ |  | √ |  |  |  |  | √
SR18 | Monitor ICS network traffic for signs of unusual or malicious activities. | Communication Security |  |  |  |  | √ | √ |  | √
SR19 | Use network firewalls to enforce security policies between ICS networks and other networks. | Communication Security | √ |  |  |  | √ | √
SR20 | Apply strict firewall rules to prevent unauthorized remote connections to ICS components. | Communication Security | √ |  |  |  |  | √
SR21 | Ensure proper segregation of control and data networks within ICS. | Communication Security | √ |  |  |  |  | √
SR22 | Implement strict access control policies on communication ports in ICS devices. | Communication Security | √ |  |  |  |  | √
SR23 | Monitor and log all communication activity between ICS devices to detect unauthorized changes. | Communication Security |  |  |  |  | √ |  |  | √
SR24 | Use DNS filtering and proxies to block malicious or suspicious domains from accessing ICS. | Communication Security |  |  |  |  | √ | √ |  | √
SR25 | Ensure that encryption keys are securely managed and rotated regularly. | Communication Security |  | √ |  |  | √
SR26 | Develop and enforce a formal process for software updates and patch management. | Update Security |  | √ | √
SR27 | Implement secure patching procedures that include testing and validation before deployment. | Update Security |  | √ | √ |  | √
SR28 | Monitor vendor notifications for critical updates and vulnerabilities affecting ICS components. | Update Security |  |  | √ |  | √
SR29 | Ensure that updates to ICS components do not disrupt normal operations. | Update Security | [8 empty] | √ | √
SR30 | Maintain a centralized repository for all system updates, configurations, and documentation. | Update Security |  |  |  |  | √ | √
SR31 | Ensure rollback mechanisms are in place for failed updates or patches. | Update Security | [8 empty] | √ | √
SR32 | Establish and enforce a schedule for regular updates to ICS software and hardware. | Update Security |  | √ | √
SR33 | Implement a secure process for firmware updates to prevent unauthorized modification. | Update Security |  | √ | √
SR34 | Monitor the status of update deployments to ensure they are successfully applied. | Update Security |  |  | √ |  | √
SR35 | Require multi-step approval for deploying updates to critical ICS devices. | Update Security |  | √ |  |  | √
SR36 | Implement asset discovery tools to identify all devices connected to the ICS network. | Asset Management | √ |  |  |  | √
SR37 | Ensure that all ICS assets are assigned unique identifiers for tracking and monitoring. | Asset Management |  |  | √ |  | √
SR38 | Regularly perform asset audits to ensure no unauthorized devices are connected to the ICS network. | Asset Management |  |  |  |  | √ | √
SR39 | Document and regularly review asset lifecycle management processes for ICS devices. | Asset Management |  |  | √ |  | √
SR40 | Implement inventory management software to track all software and firmware versions installed on ICS devices. | Asset Management |  | √ | √ |  | √
SR41 | Ensure that ICS assets are securely tagged and tracked to prevent tampering or theft. | Asset Management | √ |  |  | √ | √ | √
SR42 | Establish procedures for timely decommissioning and disposal of retired ICS hardware and software. | Asset Management |  |  | √ |  | √
SR43 | Maintain a real-time asset inventory for critical ICS components to ensure rapid recovery after an incident. | Asset Management |  |  |  |  | √ |  |  |  |  | √
SR44 | Implement strict user authentication policies for accessing ICS components, including multi-factor authentication (MFA). | Access Control | √ |  |  |  | √ | √
SR45 | Apply the principle of least privilege to all user accounts within ICS environments. | Access Control |  |  |  |  | √ | √
SR46 | Establish role-based access control (RBAC) to manage permissions based on user roles. | Access Control | √ |  |  |  | √ | √
SR47 | Implement strong password policies, including regular password changes and complexity requirements. | Access Control | √ |  |  |  | √
SR48 | Ensure user authentication mechanisms are resistant to password guessing or brute-force attacks. | Access Control | √ |  |  |  | √
SR49 | Review user access rights regularly and revoke unnecessary access promptly. | Access Control |  |  | √ |  |  | √
SR50 | Ensure that authentication information is securely stored and transmitted using encryption. | Access Control |  |  |  |  | √ |  |  | √
SR51 | Implement access control policies to regulate which users can configure or modify ICS devices. | Access Control |  | √ |  |  | √ | √
SR52 | Use time-based access controls to restrict access to ICS systems during off-hours. | Access Control | √ |  |  |  | √ | √
SR53 | Enforce logging and monitoring of all user access to critical ICS components. | Access Control |  |  |  |  | √ | √
SR54 | Ensure all sensitive data in ICS systems is encrypted during both storage and transmission. | Cryptography |  |  |  |  | √ |  |  | √
SR55 | Deploy encryption key management policies to securely store and manage encryption keys. | Cryptography |  | √ |  |  | √
SR56 | Ensure secure key exchange protocols are used for communication between ICS components. | Cryptography |  |  |  |  | √ |  |  | √
SR57 | Deploy digital signatures to ensure the integrity and authenticity of ICS updates. | Cryptography |  | √ |  |  | √
SR58 | Ensure that cryptographic algorithms and keys comply with industry standards and regulations. | Cryptography |  | √ |  |  | √
SR59 | Implement secure storage for cryptographic secrets (e.g., passwords, certificates). | Cryptography |  | √ |  |  | √
SR60 | Ensure timely renewal of certificates and keys to prevent expiration during critical operations. | Cryptography |  |  | √ |  | √
SR61 | Establish encryption for communications between remote access points and ICS systems. | Cryptography |  |  |  |  | √ |  |  | √
SR62 | Implement uninterruptible power supplies for critical ICS components. | Power Security | [8 empty] | √ | √
SR63 | Monitor and maintain backup power systems to ensure continued operation during power failures. | Power Security | [8 empty] | √ | √
SR64 | Ensure power distribution systems are secure and monitored for unauthorized tampering. | Power Security | √ |  |  |  | √
SR65 | Implement power surge protection for sensitive ICS devices to prevent hardware damage. | Power Security | [9 empty] | √
SR66 | Regularly test emergency power systems to ensure they function when needed. | Power Security | [9 empty] | √
SR67 | Ensure physical security controls around power infrastructure to prevent unauthorized access. | Power Security | √
SR68 | Implement secure firmware update mechanisms to prevent unauthorized modifications. | Firmware Security |  | √ | √
SR69 | Monitor for unauthorized firmware changes using integrity checking mechanisms. | Firmware Security |  | √ | √ | √ | √
SR70 | Ensure that firmware versions are securely stored and tracked in a version control system. | Firmware Security |  |  | √ |  | √
SR71 | Limit physical access to firmware programming interfaces to authorized personnel only. | Firmware Security | √ |  |  |  |  | √
SR72 | Implement cryptographic verification for all firmware updates to ensure authenticity. | Firmware Security |  | √ | √
SR73 | Apply firmware integrity checks during system startup to ensure no unauthorized firmware is loaded. | Firmware Security |  | √ | √
SR74 | Ensure secure coding practices are followed during ICS software development. | System Development |  | √ |  |  | √
SR75 | Implement rigorous code review processes to identify and fix security vulnerabilities. | System Development |  | √ |  |  | √
SR76 | Utilize static and dynamic analysis tools to identify vulnerabilities in ICS applications. | System Development |  | √ |  |  | √
SR77 | Ensure all third-party libraries and dependencies are reviewed and updated for security. | System Development |  | √ | √
SR78 | Establish secure interfaces for communication between ICS components and external systems. | System Development |  |  |  |  | √ |  |  | √
SR79 | Conduct security testing, including penetration testing, before deploying ICS | System Development |  | √ |  |  | √
SR80 | Develop and implement a business continuity plan (BCP) for ICS systems to ensure quick recovery after incidents. | Business Continuity Management | [8 empty] | √ | √
SR81 | Ensure regular testing and simulation of ICS recovery procedures to identify gaps. | Business Continuity Management | [8 empty] | √ | √
SR82 | Maintain backup copies of critical ICS data and configurations for rapid restoration. | Business Continuity Management | [8 empty] | √ | √
SR83 | Ensure that backup systems and data are protected from unauthorized access and tampering. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR84 | Establish redundancies in critical ICS components to reduce the impact of failures. | Business Continuity Management | [8 empty] | √ | √
SR85 | Ensure that personnel are trained on business continuity processes and incident response procedures. | Business Continuity Management |  | √ |  |  | √
SR86 | Implement mechanisms for continuous monitoring to detect signs of disruption. | Business Continuity Management |  |  |  |  | √ |  |  |  |  | √
SR87 | Establish a communications plan to ensure effective coordination during business continuity events. | Business Continuity Management | [8 empty] | √ | √
SR88 | Ensure that remote access to backup systems is secure and tightly controlled. | Business Continuity Management | √ | [6 empty] | √
SR89 | Implement a centralized logging and monitoring system for ICS components. | Security Protection Management |  |  |  |  | √ | √
SR90 | Ensure real-time alerting of critical ICS security events and incidents. | Security Protection Management |  |  |  |  | √ |  |  | √
SR91 | Establish incident response protocols for ICS-specific attack scenarios. | Security Protection Management | [8 empty] | √ | √
SR92 | Deploy endpoint detection and response solutions to monitor ICS devices. | Security Protection Management |  | √ |  |  | √
SR93 | Implement intrusion prevention systems (IPS) for ICS networks. | Security Protection Management |  |  | √ |  | √ |  |  | √
SR94 | Maintain detailed documentation of ICS network architectures, security controls, and system configurations. | Security Protection Management |  |  |  |  | √ | √
SR95 | Ensure that security policies and procedures are reviewed and updated regularly. | Security Protection Management |  |  | √ |  | √
SR96 | Conduct thorough background checks for all personnel accessing critical ICS. | Human Resource Security |  |  |  |  | √ | √
SR97 | Provide regular cybersecurity training for all ICS personnel. | Human Resource Security | √ |  |  |  | √
SR98 | Ensure proper segregation of duties for ICS personnel to prevent abuse of privileges. | Human Resource Security |  |  | √ |  |  | √
SR99 | Ensure personnel are aware of incident response procedures and are trained on emergency protocols. | Human Resource Security |  | √ |  |  | √
SR100 | Perform periodic security awareness assessments for ICS personnel to gauge their readiness. | Human Resource Security |  | √ |  |  | √
SR101 | Establish a formal procedure for handling and terminating access when personnel leave or change roles. | Human Resource Security |  |  | √ |  |  | √
SR102 | Ensure that temporary or contract personnel are subject to the same security policies as full-time employees. | Human Resource Security | √ |  |  |  | √

## ISSRM
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Implement real-time monitoring for ICS systems to detect potential security breaches. | Operating Security |  |  |  |  | √ |  |  |  | √
SR2 | Ensure robust network segmentation between ICS and enterprise networks. | Operating Security |  |  |  |  | √ | √
SR3 | Use intrusion detection systems (IDS) to identify malicious activity in ICS networks. | Operating Security |  | √ |  |  | √
SR4 | Conduct regular vulnerability assessments of ICS systems and infrastructure. | Operating Security |  |  |  |  | √
SR5 | Ensure ICS components are securely configured, removing unnecessary services and ports. | Operating Security |  | √ |  |  | √
SR6 | Monitor ICS system logs for signs of unauthorized access or attacks. | Operating Security |  |  |  |  | √ |  | √
SR7 | Establish incident response protocols for ICS-specific attack scenarios. | Operating Security | [8 empty] | √
SR8 | Regularly test ICS security measures through penetration testing and simulations. | Operating Security |  | √ | √
SR9 | Implement security patch management for ICS software and hardware components. | Operating Security |  | √ | √
SR10 | Encrypt sensitive communication channels within ICS. | Communication Security |  |  |  |  | √ |  |  | √
SR11 | Ensure secure remote access to ICS, using multi-factor authentication | Communication Security | √ | √
SR12 | Deploy firewalls and intrusion prevention systems to protect ICS networks. | Communication Security |  |  |  |  | √ | √
SR13 | Use network monitoring tools to track communications and detect anomalies in ICS traffic. | Communication Security |  |  |  |  | √ |  |  | √
SR14 | Implement virtual LANs (VLANs) for critical ICS networks to isolate sensitive traffic. | Communication Security | [5 empty] | √
SR15 | Establish a secure communication protocol for field devices and controllers. | Communication Security |  |  |  |  | √ |  |  | √
SR16 | Conduct regular security reviews and audits of communication infrastructure. | Communication Security |  | √ |  |  | √
SR17 | Implement a centralized patch management system for ICS updates. | Update Security |  | √ | √
SR18 | Ensure that firmware updates for ICS devices are signed and authenticated. | Update Security |  | √ | √
SR19 | Establish a process for safely rolling back failed updates. | Update Security | [8 empty] | √
SR20 | Regularly test and validate updates in a safe testing environment. | Update Security |  | √ |  |  | √
SR21 | Implement software whitelisting to prevent unauthorized updates. | Update Security |  | √ | √
SR22 | Schedule regular vulnerability scanning after every system update or patch. | Update Security |  |  |  |  | √
SR23 | Maintain an up-to-date inventory of all ICS hardware and software assets. | Asset Management |  |  |  |  | √
SR24 | Enforce asset tracking for all ICS components, including field devices and controllers. | Asset Management |  |  |  |  | √
SR25 | Classify ICS assets based on their criticality to operations and apply security controls accordingly. | Asset Management |  |  |  |  | √ | √
SR26 | Implement automated tools for asset management and monitoring. | Asset Management |  |  |  |  | √ |  | √
SR27 | Ensure physical security for all ICS assets, preventing unauthorized access or tampering. | Asset Management |  |  |  |  | √ |  |  |  | √
SR28 | Enforce strict role-based access control for all ICS users and administrators. | Access Control | √ |  |  |  |  | √
SR29 | Implement multi-factor authentication (MFA) for access to ICS management interfaces. | Access Control | √ | √
SR30 | Restrict physical access to ICS devices to authorized personnel only. | Access Control | √
SR31 | Use time-based access restrictions to limit when ICS systems can be accessed. | Access Control | √
SR32 | Implement logging and auditing for all access to ICS systems and assets. | Access Control |  |  |  |  | √ |  | √
SR33 | Regularly review and update user access permissions to ensure compliance with the principle of least privilege. | Access Control |  |  |  |  | √ | √
SR34 | Ensure separation of duties for ICS management to prevent unauthorized changes. | Access Control |  | √ | √
SR35 | Encrypt all sensitive data in transit between ICS components using strong encryption protocols. | Cryptography |  |  |  |  | √ |  |  | √
SR36 | Encrypt sensitive data at rest on ICS devices to prevent unauthorized access. | Cryptography |  |  |  |  | √ |  | √
SR37 | Use cryptographic signatures to verify the integrity and authenticity of ICS software updates. | Cryptography |  | √ | √
SR38 | Employ key management systems to securely store and rotate cryptographic keys. | Cryptography |  |  | √
SR39 | Implement end-to-end encryption for all remote access connections to ICS systems. | Cryptography | √ | [6 empty] | √
SR40 | Use strong cryptographic protocols for communication between ICS field devices and controllers. | Cryptography |  |  |  |  | √ |  |  | √
SR41 | Deploy redundant power systems (e.g., UPS) to protect ICS devices from power failures. | Power Security | [9 empty] | √
SR42 | Monitor and log power consumption and events for anomalies in ICSs. | Power Security |  |  |  |  | √
SR43 | Ensure power systems are physically protected from unauthorized access and tampering. | Power Security | √ |  |  |  | √
SR44 | Implement failover mechanisms for critical ICS power supplies to ensure system uptime. | Power Security | [9 empty] | √
SR45 | Regularly test power systems and backup generators for reliability and functionality. | Power Security | [9 empty] | √
SR46 | Regularly update firmware on ICS devices to patch vulnerabilities. | Firmware Security |  | √ | √
SR47 | Ensure firmware updates are cryptographically signed and verified before installation. | Firmware Security |  | √ | √
SR48 | Perform integrity checks on firmware to detect unauthorized modifications. | Firmware Security |  | √ |  |  | √
SR49 | Limit access to firmware update mechanisms to authorized personnel only. | Firmware Security | √ | √
SR50 | Use secure boot mechanisms to ensure the integrity of the firmware during bootup. | Firmware Security |  | √ | √
SR51 | Implement secure coding practices during the development of ICS applications. | System Development |  | √ |  |  | √
SR52 | Conduct regular code reviews and static code analysis to identify security weaknesses. | System Development |  | √ |  |  | √
SR53 | Ensure all ICS applications and software are tested for security vulnerabilities before deployment. | System Development |  | √ |  |  | √
SR54 | Apply secure development lifecycle practices, including threat modeling and risk assessments. | System Development |  | √ |  |  | √
SR55 | Ensure that system development includes security testing such as fuzzing and vulnerability scanning. | System Development |  | √ |  |  | √
SR56 | Develop and maintain a business continuity plan (BCP) for ICS systems to ensure operational resilience. | Business Continuity Management | [8 empty] | √ | √
SR57 | Regularly conduct business continuity and disaster recovery testing to ensure system recovery capabilities. | Business Continuity Management | [8 empty] | √ | √
SR58 | Ensure proper backup of critical ICS data, configurations, and system states. | Business Continuity Management | [8 empty] | √ | √
SR59 | Define clear roles and responsibilities for ICS incident response and recovery teams. | Business Continuity Management |  |  |  |  | √ |  |  |  | √
SR60 | Ensure that business continuity procedures align with ICS system availability requirements. | Business Continuity Management | [8 empty] | √ | √
SR61 | Establish a communication plan to inform stakeholders during ICS incidents or disruptions. | Business Continuity Management | [8 empty] | √
SR62 | Implement centralized security monitoring and logging for all ICS devices and networks. | Business Continuity Management |  |  |  |  | √ |  |  | √
SR63 | Establish a vulnerability management process to ensure timely patching of ICS components. | Business Continuity Management |  | √ | √
SR64 | Regularly conduct security audits to identify gaps in ICS security controls. | Business Continuity Management |  | √ |  |  | √
SR65 | Integrate ICS security with enterprise-wide security monitoring to detect cross-domain threats. | Business Continuity Management | [5 empty] | √ |  | √
SR66 | Develop a security incident response plan specific to ICS environments. | Business Continuity Management | [8 empty] | √ | √
SR67 | Ensure that all security-related alerts and events are prioritized and acted upon based on severity. | Business Continuity Management |  |  |  |  | √ |  |  |  | √
SR68 | Ensure background checks are performed on all personnel involved in the operation and maintenance of ICS. | Business Continuity Management | √
SR69 | Provide ICS-specific security training to all staff to ensure awareness of potential threats. | Business Continuity Management |  | √ |  |  | √
SR70 | Establish a process for terminating access to ICS systems when employees leave the organization. | Business Continuity Management |  | √ | √
SR71 | Define security awareness and training programs for third-party contractors interacting with ICS. | Business Continuity Management | √ | √
SR72 | Conduct periodic performance reviews of personnel and contractors to assess adherence to ICS security policies. | Business Continuity Management |  |  |  |  | √
SR73 | Ensure ICS systems comply with relevant industry-specific security regulations and standards. | Compliance |  |  |  |  | √
SR74 | Perform regular compliance audits to ensure adherence to security regulations and standards. | Compliance |  |  |  |  | √
SR75 | Develop an internal policy to ensure continuous monitoring and assessment of ICS security posture. | Compliance |  |  |  |  | √
SR76 | Establish a legal and regulatory framework for addressing security incidents impacting ICS. | Compliance | [8 empty] | √
SR77 | Implement a secure software development lifecycle (SDLC) for ICS software applications. | System Development |  | √ | √
SR78 | Perform static and dynamic code analysis to identify vulnerabilities in ICS software. | System Development |  | √ |  |  | √
SR79 | Apply secure coding practices to prevent common software vulnerabilities (e.g., buffer overflows, SQL injection) in ICS applications. | System Development |  | √
SR80 | Ensure that ICS software applications are tested for security weaknesses before deployment. | System Development |  | √ |  |  | √
SR81 | Establish a process for patching and updating ICS software regularly to address newly discovered vulnerabilities. | System Development |  |  | √
SR82 | Ensure the use of secure libraries and third-party software that are regularly updated for ICS systems. | System Development |  |  | √
SR83 | Implement access control policies during the development phase to restrict access to critical ICS components. | System Development | √
SR84 | Establish a process for reviewing and approving code changes to ICS applications. | System Development |  | √
SR85 | Design and implement power redundancy solutions to minimize the risk of power failures. | Power Security | [9 empty] | √
SR86 | Monitor and log power system health, including voltage fluctuations, to detect abnormal behavior. | Power Security |  |  |  |  | √
SR87 | Implement system health checks for power-related failure risks to trigger automated responses. | Power Security | [8 empty] | √

## SEPP
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Establish centralized monitoring for ICS system performance and status to detect anomalies. | Operating Security |  |  |  |  | √ | √ |  |  | √
SR2 | Use automated alerts for detecting operational anomalies within ICS components. | Operating Security |  |  |  |  | √ |  |  |  | √
SR3 | Implement data integrity checks for real-time monitoring data. | Operating Security |  |  |  |  | √ |  |  |  |  | √
SR4 | Ensure that all critical ICS devices are hardened according to security best practices. | Operating Security |  |  |  |  | √ |  |  |  |  | √
SR5 | Conduct regular vulnerability assessments of ICS systems to identify and mitigate security gaps. | Operating Security |  |  |  |  | √
SR6 | Ensure systems are configured with fail-safe defaults and disaster recovery settings. | Operating Security | [9 empty] | √
SR7 | Conduct periodic penetration tests to simulate potential attack scenarios in the ICS environment. | Operating Security |  | √ |  |  | √
SR8 | Establish incident response plans for ICS environments and ensure they are regularly tested. | Operating Security | [8 empty] | √
SR9 | Enable multi-factor authentication for ICS system access to enhance user verification. | Operating Security | √
SR10 | Establish role-based access control to limit user privileges to only necessary functions. | Operating Security | √ |  |  |  |  | √
SR11 | Ensure that all user credentials in ICSs are securely stored using encryption. | Operating Security |  |  |  |  | √ |  | √
SR12 | Implement a centralized logging system to track and store logs for ICSs. | Operating Security |  |  |  |  | √
SR13 | Ensure that ICSs are configured to use strong cryptography for data transmission. | Operating Security | [7 empty] | √
SR14 | Implement time synchronization across all ICS components to maintain consistent timestamps. | Operating Security |  |  |  |  | √
SR15 | Ensure that ICS systems are regularly patched with security updates. | Operating Security |  |  | √
SR16 | Perform regular system backups of critical ICS data and configurations. | Operating Security | [8 empty] | √
SR17 | Establish a monitoring framework to track changes to critical ICS configurations and settings. | Operating Security |  |  | √ |  | √
SR18 | Encrypt all communication between ICS components to ensure confidentiality. | Communication Security | [7 empty] | √
SR19 | Use Virtual Private Networks (VPNs) for remote access to ICS systems to secure communication. | Communication Security | √ | [6 empty] | √
SR20 | Implement network segmentation between ICS and corporate IT networks to minimize exposure. | Communication Security | [5 empty] | √
SR21 | Deploy Intrusion Detection Systems (IDS) on ICS networks to detect unauthorized access attempts. | Communication Security |  |  |  |  | √
SR22 | Ensure that all communication protocols used in ICS are secure and validated. | Communication Security |  | √ |  |  | √
SR23 | Restrict network access to ICS components based on a least-privilege access model. | Communication Security | √ |  |  |  |  | √
SR24 | Use digital signatures to ensure the authenticity and integrity of ICS software and configurations. | Communication Security |  | √ |  |  | √
SR25 | Implement secure communication protocols for ICS controllers and SCADA systems. | Communication Security | [7 empty] | √
SR26 | Ensure that communication paths between ICS and external systems are closely monitored and secured. | Communication Security | [5 empty] | √
SR27 | Establish a secure update mechanism for ICS software and firmware. | Update Security |  |  | √
SR28 | Verify the authenticity of software updates before applying them to ICS components. | Update Security |  | √ | √
SR29 | Automate the application of security patches to ICS systems to address vulnerabilities promptly. | Update Security |  |  | √
SR30 | Monitor the version of software and firmware in ICS systems to ensure only authorized versions are used. | Update Security |  |  |  |  | √
SR31 | Implement a rollback mechanism to revert to previous safe configurations after an update failure. | Update Security | [8 empty] | √
SR32 | Maintain a complete inventory of all ICS components and their configurations. | Asset Management |  |  |  |  | √ | √
SR33 | Classify ICS assets based on their criticality and risk levels. | Asset Management |  |  |  |  | √ | √
SR34 | Implement asset tracking and monitoring to detect unauthorized changes or access to critical assets. | Asset Management |  |  |  |  | √ | √
SR35 | Perform periodic audits of ICS assets to verify their compliance with security policies. | Asset Management |  |  |  |  | √
SR36 | Ensure that all outdated or unused ICS components are properly decommissioned and securely disposed of. | Asset Management |  |  | √
SR37 | Protect the integrity of asset data through strong access controls and audit logs. | Asset Management |  | √ |  |  | √
SR38 | Implement least privilege access control for all ICS users and components. | Access Control | √ |  |  |  |  | √
SR39 | Enable multi-factor authentication (MFA) for all critical ICS system access points. | Access Control | √
SR40 | Regularly review user access rights to ICS systems and remove unnecessary privileges. | Access Control |  |  |  |  | √ | √
SR41 | Enforce strong password policies and periodically enforce password changes. | Access Control | √
SR42 | Implement a centralized authentication mechanism for ICS systems to simplify user management. | Access Control | √
SR43 | Log and audit all access to ICS systems for detection of unauthorized access attempts. | Access Control |  |  |  |  | √ |  | √
SR44 | Apply access control lists to restrict network access to ICS devices. | Access Control | √ |  |  |  |  | √
SR45 | Ensure proper access control measures for remote access to ICS systems. | Access Control | √ | [6 empty] | √
SR46 | Use end-to-end encryption for communications between ICS devices and control systems. | Cryptography | [7 empty] | √
SR47 | Implement strong cryptographic algorithms for data storage and transmission in ICS. | Cryptography |  |  |  |  | √ |  |  | √
SR48 | Ensure that encryption keys are properly managed and securely stored. | Cryptography |  |  |  |  | √
SR49 | Secure ICS configuration files with encryption to prevent unauthorized modifications. | Cryptography |  | √ | √
SR50 | Use digital signatures to verify the authenticity of ICS software and updates. | Cryptography |  | √ | √
SR51 | Deploy uninterruptible power supplies for critical ICS components. | Power Security | [9 empty] | √
SR52 | Monitor power usage and performance of critical ICS devices to detect abnormal behavior. | Power Security |  |  |  |  | √
SR53 | Implement redundant power sources for critical ICS systems to ensure availability. | Power Security | [9 empty] | √
SR54 | Conduct regular testing of backup power systems to ensure their reliability in the event of a failure. | Power Security | [9 empty] | √
SR55 | Integrate power failure alarms with monitoring and alerting systems. | Power Security | [8 empty] | √
SR56 | Implement secure boot mechanisms for ICS devices to prevent unauthorized firmware execution. | Firmware Security |  | √ | √
SR57 | Ensure firmware is validated with cryptographic signatures before installation. | Firmware Security |  | √ | √
SR58 | Regularly update and patch firmware to mitigate vulnerabilities in ICS devices. | Firmware Security |  |  | √
SR59 | Monitor firmware integrity using cryptographic hash functions. | Firmware Security |  | √ |  |  | √
SR60 | Establish a secure process for firmware rollback in case of failures. | Firmware Security | [9 empty] | √
SR61 | Incorporate security by design during the development of ICS systems and components. | System Development |  | √ | √
SR62 | Establish secure coding practices for developing ICS applications and software. | System Development |  | √ | √
SR63 | Regularly conduct security testing on ICS applications and systems during the development process. | System Development |  | √ |  |  | √
SR64 | Ensure that third-party software or libraries used in ICS are properly vetted for security vulnerabilities. | System Development |  | √ | √
SR65 | Implement a secure software development lifecycle for all ICS projects. | System Development |  | √ |  |  | √
SR66 | Deploy security-focused development tools to assist in the detection and mitigation of security vulnerabilities. | System Development |  | √ |  |  | √
SR67 | Provide secure access to development environments to prevent unauthorized modifications. | System Development | √ |  |  |  |  | √
SR68 | Develop and maintain a comprehensive ICS disaster recovery plan. | Business Continuity Management | [8 empty] | √ | √
SR69 | Test ICS disaster recovery procedures regularly to ensure their effectiveness in real-world scenarios. | Business Continuity Management | [8 empty] | √ | √
SR70 | Implement redundant systems and data backups to ensure operational continuity in case of failure. | Business Continuity Management | [9 empty] | √
SR71 | Ensure that business continuity and disaster recovery plans are aligned with ICS security requirements. | Business Continuity Management | [8 empty] | √
SR72 | Establish and maintain a communication plan for ICS operations during emergencies. | Business Continuity Management | [8 empty] | √
SR73 | Provide employee training on business continuity and emergency procedures. | Business Continuity Management |  |  |  |  | √ |  |  |  | √
SR74 | Implement and enforce network segmentation within ICS environments. | Security Protection Management | [5 empty] | √
SR75 | Ensure proper monitoring of all ICS devices and systems for unusual behavior or security threats. | Security Protection Management |  |  |  |  | √ |  | √
SR76 | Deploy and configure intrusion detection/prevention systems (IDS/IPS) for ICS networks. | Security Protection Management |  | √ |  |  | √
SR77 | Implement system and network hardening procedures for ICS environments. | Security Protection Management | √ |  | √
SR78 | Establish security monitoring dashboards to visualize and track ICS network health. | Security Protection Management |  |  |  |  | √ |  | √
SR79 | Conduct background checks on all personnel involved in ICS operations. | Human Resource Security | √ |  |  |  | √
SR80 | Provide role-based security training for all ICS personnel. | Human Resource Security |  | √ |  |  | √
SR81 | Implement personnel access reviews and audits to ensure that only authorized individuals have access to ICS systems. | Human Resource Security |  |  |  |  | √ | √
SR82 | Ensure that personnel are aware of incident reporting protocols and are encouraged to report suspicious activities. | Human Resource Security |  |  |  |  | √ |  |  |  | √
SR83 | Establish clear security policies and codes of conduct for ICS employees and contractors. | Human Resource Security |  |  |  |  | √
SR84 | Ensure compliance with industry regulations and standards relevant to ICS security. | Compliance |  |  |  |  | √
SR85 | Document and maintain detailed security policies and procedures for ICS environments. | Compliance |  |  |  |  | √
SR86 | Conduct regular security audits to ensure compliance with internal and external security requirements. | Compliance |  |  |  |  | √
SR87 | Ensure that all third-party vendors comply with ICS security policies and practices. | Compliance | √ |  |  |  | √ | √
SR88 | Implement strong user authentication mechanisms for ICS access. | Access Control | √ | √
SR89 | Establish role-based access control (RBAC) policies for ICS users. | Access Control |  |  |  |  | √ | √
SR90 | Implement least privilege access for ICS systems and data. | Access Control |  |  |  |  | √ | √
SR91 | Enforce session timeouts and automatic logoffs for inactive ICS user sessions. | Access Control |  | √ |  |  |  | √
SR92 | Monitor user access and conduct regular access reviews. | Access Control |  |  |  |  | √ | √
SR93 | Implement secure remote access solutions for authorized ICS personnel. | Access Control | √ | [6 empty] | √
SR94 | Ensure secure user credential storage and handling. | Access Control | √ | √
SR95 | Implement continuous access monitoring and anomaly detection for systems. | Access Control |  |  |  |  | √ | √
SR96 | Establish procedures for disabling user accounts upon termination or role change. | Access Control | √ |  | √
SR97 | Establish procedures for disabling user accounts upon termination or role change. | Asset Management |  |  |  |  | √ | √
SR98 | Ensure proper decommissioning and disposal procedures for retired ICS devices. | Asset Management |  |  | √ |  | √
SR99 | Conduct regular asset audits to ensure all ICS devices are accounted for and compliant. | Asset Management |  |  |  |  | √
SR100 | Label and classify ICS assets according to their criticality and risk exposure. | Asset Management |  |  |  |  | √
SR101 | Label and classify ICS assets according to their criticality and risk exposure. | Asset Management
SR102 | Monitor asset configurations for unauthorized changes or deviations from security baselines. | Asset Management |  | √ |  |  | √
SR103 | Implement access controls for ICS asset management systems to ensure only authorized personnel can make changes. | Asset Management | √
SR104 | Use strong encryption protocols for data storage and transmission in ICS environments. | Cryptography |  |  |  |  | √ |  |  | √
SR105 | Implement key management practices to protect cryptographic keys in ICS | Cryptography |  | √ |  |  | √
SR106 | Ensure cryptographic algorithms and protocols are updated to mitigate vulnerabilities. | Cryptography |  |  |  |  | √
SR107 | Ensure that cryptographic operations are properly implemented in ICS applications. | Cryptography |  | √ |  |  | √
SR108 | Ensure that backup power systems are implemented for critical ICS components. | Power Security | [9 empty] | √
SR109 | Monitor power systems for abnormal conditions that could impact ICS operations. | Power Security |  |  |  |  | √ |  |  |  |  | √
SR110 | Implement power surge protection measures for ICS devices and infrastructure. | Power Security | [9 empty] | √

## SREF
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Ensure all ICS devices and systems have up-to-date anti-malware protection. | Operating Security |  | √ | √ | [5 empty] | √
SR2 | Configure systems for regular backups to prevent data loss. | Operating Security |  |  | √ | [6 empty] | √
SR3 | Implement system hardening guidelines to reduce attack surfaces on ICS devices. | Operating Security | √ | √
SR4 | Monitor ICSs for unauthorized changes and alert on suspicious activities. | Operating Security |  |  |  |  | √ | √
SR5 | Use security information and event management systems for centralized logging and analysis. | Operating Security |  |  |  |  | √ | √
SR6 | Enforce multi-layered defense strategies to secure ICSs. | Operating Security | √ | √
SR7 | Perform routine vulnerability assessments on ICSs to detect weaknesses. | Operating Security |  |  |  |  | √
SR8 | Ensure role-based access control is in place for ICS operators. | Operating Security |  |  |  |  | √ | √
SR9 | Establish incident response protocols for handling ICS cyberattacks. | Operating Security | [8 empty] | √ | √
SR10 | Regularly conduct ICS security awareness training for employees. | Operating Security | √
SR11 | Ensure ICSs use hardware security modules for cryptographic key management. | Operating Security | [7 empty] | √
SR12 | Limit and control physical access to ICSs and critical infrastructure. | Operating Security | √
SR13 | Implement endpoint detection and response tools to monitor ICSs for threats. | Operating Security |  | √ | √
SR14 | Apply secure boot mechanisms on ICS devices to ensure only trusted firmware is executed. | Operating Security |  | √
SR15 | Establish a patch management policy for timely and secure updates of ICS software. | Operating Security
SR16 | Encrypt all communications between ICS devices and remote systems. | Communication Security | [7 empty] | √
SR17 | Segment ICS networks from corporate and public networks to limit exposure. | Communication Security | √ |  |  |  |  | √
SR18 | Implement intrusion detection systems on ICS networks to detect anomalies. | Communication Security |  |  |  |  | √ |  |  | √
SR19 | Ensure secure communication channels between ICS devices and remote operators. | Communication Security | [7 empty] | √
SR20 | Monitor network traffic to detect unauthorized ICSs communications. | Communication Security |  |  |  |  | √ |  |  | √
SR21 | Use whitelisting for network ports and protocols to limit communication. | Communication Security |  | √
SR22 | Verify the integrity of firmware and software updates for communication devices. | Communication Security
SR23 | Ensure secure and validated software updates for all ICS devices. | Update Security
SR24 | Implement a controlled and tested process for patching ICSs. | Update Security
SR25 | Regularly update anti-malware definitions and security patches. | Update Security
SR26 | Apply updates in a staged manner to avoid disrupting critical ICS operations. | Update Security |  | √
SR27 | Use secure methods for distributing software updates across ICS networks. | Update Security
SR28 | Implement a rollback mechanism in case an update causes system instability. | Update Security |  | √ | [7 empty] | √
SR29 | Test all updates on non-production systems before deployment. | Update Security
SR30 | Maintain an up-to-date inventory of all ICS assets. | Asset Management |  |  |  |  | √
SR31 | Implement asset tagging and labeling for all ICS devices. | Asset Management |  |  |  |  | √
SR32 | Ensure decommissioned ICS devices are securely wiped before disposal. | Asset Management |  |  | √ |  | √
SR33 | Implement a change management system for tracking asset modifications. | Asset Management |  | √ |  |  | √
SR34 | Monitor assets for unauthorized addition or removal. | Asset Management |  |  |  |  | √ | √
SR35 | Use encryption for sensitive asset information stored in asset management systems. | Asset Management |  |  |  |  | √ |  |  | √
SR36 | Enforce strict authentication mechanisms for ICS device access. | Access Control | √ |  | √
SR37 | Restrict user access based on roles and the principle of least privilege. | Access Control |  |  |  |  | √ | √
SR38 | Implement strong password policies for ICSs accounts. | Access Control | √
SR39 | Monitor and log user activities to detect unauthorized access attempts. | Access Control |  |  |  |  | √ | √
SR40 | Establish time-based access controls to limit operator access during non-operational hours. | Access Control | √ |  |  |  | √
SR41 | Ensure that remote access to ICS devices is encrypted and restricted to authorized users. | Access Control | √ | [6 empty] | √
SR42 | Periodically review and update user access rights and permissions. | Access Control |  |  |  |  | √
SR43 | Ensure physical access controls are in place to prevent unauthorized users from accessing ICS devices. | Access Control | √
SR44 | Use end-to-end encryption for sensitive data transmitted across ICS networks. | Cryptography |  |  |  |  | √ |  |  | √
SR45 | Implement encryption for stored data on ICS devices to protect data at rest. | Cryptography |  |  |  |  | √ |  |  | √
SR46 | Ensure cryptographic keys are stored securely in hardware security modules. | Cryptography | [7 empty] | √
SR47 | Use digital signatures to verify the integrity and authenticity of software updates. | Cryptography |  | √
SR48 | Apply secure key management practices for cryptographic operations. | Cryptography | [7 empty] | √
SR49 | Implement uninterruptible power supplies for critical systems. | Power Security | [8 empty] | √
SR50 | Monitor and control power usage in ICS devices to detect unusual power spikes. | Power Security |  |  |  |  | √ |  |  |  |  | √
SR51 | Ensure proper grounding and surge protection for ICS equipment. | Power Security |  | √
SR52 | Automate power-down procedures in case of severe system failures to protect ICS components. | Power Security | [8 empty] | √ | √
SR53 | Test and maintain power protection systems regularly to ensure functionality. | Power Security | [8 empty] | √
SR54 | Regularly update ICS device firmware to patch known vulnerabilities. | Firmware Security |  | √
SR55 | Implement secure firmware signing to prevent unauthorized firmware uploads. | Firmware Security |  | √
SR56 | Encrypt firmware stored on ICS devices to prevent tampering. | Firmware Security |  | √ |  |  | √
SR57 | Monitor firmware integrity through regular checks and comparisons with known good versions. | Firmware Security |  | √ |  |  | √
SR58 | Ensure secure coding practices are followed during ICS software development. | System Development |  | √ |  |  | √
SR59 | Use static and dynamic code analysis tools to identify vulnerabilities in ICS applications. | System Development |  | √ |  |  | √
SR60 | Conduct regular security audits of ICS software to detect vulnerabilities. | System Development |  |  |  |  | √
SR61 | Ensure proper error handling and logging in ICS applications. | System Development |  | √ |  |  | √
SR62 | Maintain version control for ICS software to track changes and ensure integrity. | System Development |  |  |  |  | √
SR63 | Apply secure development practices to protect software from injection attacks. | System Development |  | √
SR64 | Ensure proper input validation is implemented in ICS applications to prevent unauthorized data entry. | System Development |  | √
SR65 | Develop and maintain a business continuity plan for ICS systems. | Business Continuity Management | [8 empty] | √ | √
SR66 | Perform regular disaster recovery (DR) drills to test ICS resilience. | Business Continuity Management | [8 empty] | √ | √
SR67 | Implement redundant power supplies to ensure continuous operation during power failures. | Business Continuity Management | [8 empty] | √
SR68 | Ensure that critical ICS data is backed up regularly and securely. | Business Continuity Management |  |  |  |  | √ |  |  |  |  | √
SR69 | Establish an incident response team to address ICS security breaches. | Business Continuity Management | [8 empty] | √ | √
SR70 | Document and test recovery procedures to restore ICS to normal operations after a disruption. | Business Continuity Management | [8 empty] | √
SR71 | Ensure third-party services related to ICSs have business continuity plans. | Business Continuity Management | [8 empty] | √
SR72 | Establish and enforce a patch management policy for ICSs. | Security Protection Management |  | √
SR73 | Implement regular vulnerability scanning for ICS devices and networks. | Security Protection Management |  |  |  |  | √
SR74 | Integrate security event monitoring and intrusion detection systems (IDS) for ICS networks. | Security Protection Management |  |  |  |  | √ |  |  | √
SR75 | Ensure ICS systems are isolated from non-critical IT networks. | Security Protection Management | [5 empty] | √
SR76 | Regularly review and update ICS security policies to address emerging threats. | Security Protection Management |  |  |  |  | √
SR77 | Implement robust physical security controls to protect ICS infrastructure. | Security Protection Management | √
SR78 | Ensure the security of ICSs logs and restrict unauthorized access. | Security Protection Management |  |  |  |  | √ | √
SR79 | Perform background checks on all personnel with access to ICSs. | Security Protection Management | √ |  | √
SR80 | Provide regular security training for ICS personnel. | Security Protection Management |  | √
SR81 | Implement a process to revoke access for personnel who leave the organization or change roles. | Security Protection Management | √ |  | √
SR82 | Ensure that ICS personnel are trained to recognize social engineering attacks. | Security Protection Management | √
SR83 | Establish a formal offboarding procedure for employees leaving ICS-related roles. | Security Protection Management | √ |  | √
SR84 | Ensure ICS systems comply with applicable industry standards and regulations (e.g., NIST, IEC 62443). | Compliance |  |  |  |  | √
SR85 | Conduct regular security audits and assessments to verify ICS compliance with security frameworks. | Compliance |  |  |  |  | √
SR86 | Ensure all third-party vendors comply with ICS security requirements. | Compliance | [5 empty] | √
SR87 | Document and retain security incident reports for compliance purposes. | Compliance |  |  |  |  | √
SR88 | Perform periodic reviews of ICS access controls to ensure compliance with security policies. | Compliance |  |  |  |  | √
SR89 | Maintain an up-to-date inventory of all ICS hardware and software assets. | Asset Management |  | √ |  |  | √
SR90 | Implement a process to track the lifecycle of all ICS assets. | Asset Management |  | √ |  |  | √
SR91 | Ensure secure disposal of decommissioned ICS hardware and software. | Asset Management |  |  |  |  | √
SR92 | Tag and uniquely identify all ICS components for better management and tracking. | Asset Management |  |  |  |  | √
SR93 | Conduct regular audits of the ICS asset inventory to ensure accuracy. | Asset Management |  |  |  |  | √
SR94 | Implement strong authentication mechanisms for all ICS users. | Access Control | √ |  | √
SR95 | Use role-based access control for ICS systems to limit privileges. | Access Control |  |  |  |  | √ | √

## SREP
Contents of Security Requirements |  | Category | Stages of ATT&CK Matrix
|  |  | Initial Access | Execution | Persistence | Evasion | Discovery | Lateral Movement | Collection | Command and Control | Inhibit Response Function | Impair Process Control
SR1 | Implement robust network monitoring systems to detect anomalous activities and performance degradation. | Operating Security |  | √ |  |  | √ |  | √ |  | √
SR2 | Ensure all ICS components use secure, up-to-date operating systems. | Operating Security | √ |  |  |  | √
SR3 | Regularly audit and update system configurations to ensure no unauthorized changes. | Operating Security |  |  |  | √ | √
SR4 | Establish a centralized logging mechanism for tracking system events. | Operating Security |  |  |  |  | √ |  | √
SR5 | Monitor and restrict outbound traffic to prevent unauthorized data exfiltration. | Operating Security |  |  |  |  | √ |  | √ | √
SR6 | Implement encryption for all communication channels between ICS devices and external networks. | Communication Security | √ | [6 empty] | √
SR7 | Use firewalls and intrusion detection systems (IDS) to secure communication paths. | Communication Security |  |  |  | √ | √
SR8 | Ensure secure communication protocols (e.g., TLS, VPN) are enforced between systems. | Communication Security | √ | [6 empty] | √
SR9 | Restrict communication access based on predefined rules for trusted devices and networks. | Communication Security | √ |  |  |  |  | √
SR10 | Implement protocol anomaly detection systems to identify malicious traffic. | Communication Security |  |  |  | √ | √
SR11 | Ensure that software and firmware updates are signed and validated before deployment. | Update Security | √ | √
SR12 | Implement automated patch management to keep ICS components up to date. | Update Security |  | √
SR13 | Test updates in a sandboxed environment to detect potential conflicts or vulnerabilities. | Update Security |  | √ |  |  | √
SR14 | Implement version control to prevent unauthorized updates or rollbacks. | Update Security |  |  | √ |  | √
SR15 | Ensure that critical updates are deployed automatically across the ICS network. | Update Security |  | √ | √
SR16 | Create and maintain an up-to-date asset inventory that includes software and hardware details. | Update Security |  |  |  |  | √ |  | √
SR17 | Use RFID or other unique identifiers for asset tracking and verification. | Update Security |  |  |  |  | √
SR18 | Implement access control to asset management systems to prevent unauthorized modifications. | Update Security | √ |  |  |  | √
SR19 | Ensure secure storage and disposal of obsolete assets, especially critical components. | Update Security | √ |  |  |  | √
SR20 | Conduct periodic audits to ensure no unauthorized assets are connected to the network. | Update Security |  |  |  |  | √ | √
SR21 | Use multi-factor authentication for access to ICS control systems and management interfaces. | Access Control | √ |  |  |  |  | √
SR22 | Enforce strict role-based access control to limit permissions based on job functions. | Access Control |  |  |  |  | √ | √
SR23 | Implement time-based access policies to restrict user access during off-hours or non-peak periods. | Access Control |  |  |  |  | √ | √
SR24 | Audit user activities regularly to detect any unauthorized access attempts or suspicious behavior. | Access Control |  |  |  |  | √ |  | √
SR25 | Employ automated tools to revoke access immediately when an employee leaves the organization. | Access Control |  | √ |  |  | √
SR26 | Encrypt sensitive data both at rest and in transit. | Cryptography | √ | [6 empty] | √
SR27 | Rotate cryptographic keys regularly and store them securely. | Cryptography |  | √ |  |  | √
SR28 | Implement strong encryption standards (e.g., AES-256, RSA) for all critical communications. | Cryptography | √ | [6 empty] | √
SR29 | Use public key infrastructure to manage cryptographic keys and certificates. | Cryptography | √ | √
SR30 | Audit encryption systems to ensure compliance with security policies. | Cryptography |  |  |  |  | √ |  | √
SR31 | Implement backup power supplies (UPS) and surge protection for critical ICS components. | Power Security | [9 empty] | √
SR32 | Monitor power quality and consumption to detect unusual patterns that may indicate tampering. | Power Security |  |  |  |  | √ |  |  |  |  | √
SR33 | Install power redundancy systems to ensure continuous operation during power disruptions. | Power Security | [9 empty] | √
SR34 | Secure the interfaces between the ICS and external power sources to prevent unauthorized control. | Power Security | √ |  |  |  | √
SR35 | Integrate power grid monitoring systems with ICS for real-time status updates and anomaly detection. | Power Security |  |  |  |  | √ |  |  | √
SR36 | Ensure secure boot mechanisms are in place to prevent the loading of malicious firmware. | Firmware Security | √ |  | √
SR37 | Use cryptographic signatures to verify the integrity of firmware before deployment. | Firmware Security | √ | √
SR38 | Regularly update firmware to patch known vulnerabilities and improve security. | Firmware Security |  | √ | √
SR39 | Prevent unauthorized changes to firmware configurations through strong access controls. | Firmware Security |  | √ |  |  | √
SR40 | Implement rollback procedures to revert to known secure firmware versions after an attack. | Firmware Security |  | √ | √
SR41 | Adopt secure software development practices to reduce vulnerabilities in ICS applications. | System Development |  |  |  | √ | √
SR42 | Use automated static and dynamic analysis tools to detect vulnerabilities in the source code. | System Development |  | √ |  |  | √
SR43 | Enforce secure configuration management for all systems under development | System Development |  | √ |  |  | √
SR44 | Ensure thorough testing and validation of ICS applications before deployment. | System Development |  | √ |  |  | √
SR45 | Integrate security code reviews and threat modeling into the development lifecycle. | System Development |  |  |  | √ | √
SR46 | Develop and regularly test business continuity and disaster recovery plans for ICS operations. | Business Continuity Management |  |  |  |  | √ |  |  |  | √
SR47 | Ensure all critical data is backed up regularly and can be restored after an incident. | Business Continuity Management | [8 empty] | √ | √
SR48 | Conduct regular simulations of cyber incidents to evaluate response readiness. | Business Continuity Management | [8 empty] | √
SR49 | Ensure redundant communication paths to key personnel and teams during incidents. | Business Continuity Management | [8 empty] | √
SR50 | Implement geographical redundancy for ICS components to protect against local disasters. | Business Continuity Management | [9 empty] | √
SR51 | Develop and maintain an incident response plan tailored to ICS environments. | Security Protection Management | [8 empty] | √
SR52 | Monitor all ICS continuously for potential security threats and breaches. | Security Protection Management |  |  |  |  | √ |  | √
SR53 | Ensure an established process for quickly mitigating threats once detected. | Security Protection Management | [8 empty] | √
SR54 | Use centralized security monitoring tools to provide visibility into the entire ICS network. | Security Protection Management |  |  |  |  | √ |  | √
SR55 | Ensure personnel are trained in security response protocols and best practices. | Security Protection Management |  |  |  | √ | √
SR56 | Conduct background checks for employees with access to critical ICS infrastructure. | Human Resource Security |  |  |  |  | √
SR57 | Implement mandatory security awareness training for all personnel, especially those handling sensitive information. | Human Resource Security | √ |  |  |  | √
SR58 | Enforce strict exit procedures to remove access to critical systems when an employee leaves the company. | Human Resource Security |  |  |  |  | √ | √
SR59 | Ensure regular security awareness programs to keep employees up-to-date on the latest cyber threats. | Human Resource Security |  |  |  | √ | √
SR60 | Create an internal reporting mechanism for employees to report security incidents or suspicious activities. | Human Resource Security |  |  |  |  | √ |  | √
SR61 | Ensure compliance with local and international cybersecurity standards and regulations | Compliance |  |  |  |  | √
SR62 | Implement a regular compliance auditing process to ensure continued adherence to regulatory requirements. | Compliance |  |  |  |  | √
SR63 | Ensure data privacy regulations are adhered to, especially regarding sensitive operational data. | Compliance |  |  |  | √ | √
SR64 | Monitor changes to relevant compliance standards and update security measures accordingly. | Compliance |  |  |  | √ | √
SR65 | Keep detailed records of all compliance assessments and audits for review by regulatory bodies. | Compliance |  |  |  |  | √ |  | √
SR66 | Ensure system redundancy to provide high availability and mitigate the impact of failures. | Operating Security | [8 empty] | √ | √
SR67 | Conduct periodic performance reviews to detect unusual system behavior that might indicate a breach. | Operating Security |  |  |  | √ | √
SR68 | Implement network segmentation to isolate critical ICS components from less sensitive systems. | Operating Security |  |  |  |  | √ | √
SR69 | Enforce logging and monitoring of all system access attempts to ensure accountability. | Operating Security |  |  |  |  | √ |  | √
SR70 | Implement automated security testing tools to continuously scan for vulnerabilities in operational systems. | Operating Security |  | √ |  |  | √
SR71 | Apply network intrusion prevention systems to protect against unauthorized external access. | Operating Security | √ |  |  |  | √
SR72 | Use VPNs to ensure secure connections for remote maintenance and management activities. | Operating Security | √ | [6 empty] | √
SR73 | Segment communication between critical ICS devices and external networks with additional security controls. | Operating Security |  |  |  |  | √ | √
SR74 | Enforce communication encryption for data-in-transit between local ICS components | Operating Security | √ | [6 empty] | √
SR75 | Conduct regular vulnerability assessments on communication protocols to identify weaknesses | Operating Security |  | √ |  |  | √
SR76 | Ensure that software update mechanisms are protected against man-in-the-middle attacks. | Operating Security | √ | √
SR77 | Establish a secure and trusted channel for delivering patches and updates across ICS systems. | Operating Security |  | √ | [5 empty] | √
SR78 | Monitor patch release notes for any known issues or exploits that could be targeted in updates. | Operating Security |  | √ |  |  | √
SR79 | Implement versioning to prevent the accidental or malicious rollback of patches. | Operating Security |  |  | √ |  | √
SR80 | Enforce multi-factor authentication for the initiation of system updates. | Operating Security | √ |  |  |  | √
SR81 | Establish an asset decommissioning process to ensure that retired hardware is securely wiped of sensitive data. | Asset Management | √ |  |  |  | √
SR82 | Use asset management tools to track the location and status of all critical ICS components in real-time. | Asset Management |  |  |  |  | √ |  | √
SR83 | Ensure that asset lifecycle management includes secure disposal and destruction of old or unused hardware. | Asset Management | √ |  |  |  | √
SR84 | Enforce physical security controls to prevent unauthorized access to critical hardware components. | Asset Management | √ |  |  |  | √
SR85 | Tag assets with unique identifiers and track their movement across the network for auditing purposes. | Asset Management |  |  |  |  | √ |  | √
SR86 | Implement least privilege access for all users to minimize the attack surface. | Access Control |  |  |  |  | √ | √
SR87 | Ensure that remote access to ICS systems requires approval and is logged for auditing. | Access Control | √ |  |  |  | √
SR88 | Enforce strict session timeout policies for inactive users to reduce the risk of session hijacking. | Access Control |  | √ |  |  | √
SR89 | Use identity and access management (IAM) solutions to centralize and enforce access controls across ICS systems. | Access Control |  |  |  |  | √ | √
SR90 | Implement auditing and logging to track access control changes and detect unauthorized attempts. | Access Control |  |  |  |  | √ |  | √
SR91 | Ensure secure key management practices to prevent unauthorized decryption of sensitive data. | Cryptography | √ |  |  |  | √
SR92 | Use hardware security modules for the protection of cryptographic keys in ICSs. | Cryptography | √ |  |  |  | √
SR93 | Establish a system to regularly rotate cryptographic keys to prevent key compromise. | Cryptography |  | √ |  |  | √
SR94 | Implement multi-layered encryption to secure data at different levels within the ICS network. | Cryptography | √ | [6 empty] | √
SR95 | Ensure cryptographic algorithms are regularly reviewed to maintain strong encryption. | Cryptography |  | √ |  |  | √
SR96 | Install surge protectors and voltage regulators to mitigate the impact of power surges and fluctuations. | Power Security | [9 empty] | √
SR97 | Monitor the health and status of backup power systems, including battery health and voltage levels. | Power Security |  |  |  |  | √ |  |  |  |  | √
SR98 | Regularly test power failover mechanisms to ensure seamless operation during an outage. | Power Security | [9 empty] | √
SR99 | Configure ICSs to automatically switch to backup power in the event of grid failure. | Power Security | [9 empty] | √
SR100 | Implement georedundancy for critical power supply systems to ensure continuous power availability. | Power Security | [9 empty] | √
SR101 | Ensure the integrity of firmware by using cryptographic checksums and signatures. | Firmware Security | √ |  | √
SR102 | Develop a process for securely distributing and applying firmware updates to prevent unauthorized changes. | Firmware Security |  | √ | √
SR103 | Maintain a rollback mechanism in case a firmware update introduces issues or vulnerabilities. | Firmware Security |  | √ | √
SR104 | Require multi-factor authentication for personnel performing firmware updates. | Firmware Security | √ | √
SR105 | Regularly monitor and audit firmware versions to detect unauthorized changes or vulnerabilities. | Firmware Security |  | √ |  |  | √
SR106 | Ensure secure coding standards are followed during system and application development. | System Development |  |  |  | √ | √
SR107 | Conduct threat modeling to identify and mitigate potential vulnerabilities in ICS applications. | System Development |  | √ |  |  | √
SR108 | Apply continuous security testing practices via the software development lifecycle. | System Development |  | √ |  |  | √
SR109 | Implement secure development environments to prevent the introduction of vulnerabilities during development. | System Development |  | √ |  |  | √
SR110 | Develop and deploy security-focused test cases to identify potential weaknesses in ICS applications. | System Development |  | √ |  |  | √
SR111 | Conduct regular disaster recovery drills to ensure readiness for an actual cyber incident. | Business Continuity Management | [8 empty] | √
SR112 | Store offsite backups to protect critical data and ensure availability in case of an incident. | Business Continuity Management | [8 empty] | √
SR113 | Create a contingency plan for dealing with prolonged ICS downtime, including manual operation protocols. | Business Continuity Management | [8 empty] | √ | √
SR114 | Maintain agreements with third-party vendors to ensure continuity of service during disruptions. | Business Continuity Management | [8 empty] | √
SR115 | Implement a communication strategy for notifying stakeholders in case of an incident. | Business Continuity Management | [8 empty] | √
SR116 | Establish a formal process for managing security incidents, including escalation procedures. | Business Continuity Management | [8 empty] | √
SR117 | Utilize automated systems to detect and respond to security incidents in real-time. | Business Continuity Management | [8 empty] | √
SR118 | Conduct a post-incident review to evaluate the effectiveness of the response and improve procedures. | Business Continuity Management | [8 empty] | √
SR119 | Ensure all personnel involved in incident response are trained and equipped to handle ICS-specific threats. | Business Continuity Management |  |  |  | √ | √
SR120 | Use incident management platforms to track the progress of security incidents and recovery efforts. | Business Continuity Management |  |  |  |  | √ |  |  |  | √
SR121 | Conduct exit interviews and ensure departing employees return all company-owned devices and materials. | Business Continuity Management |  |  |  |  | √ | √